## WZ Emission
Analysis Services for Faecal Sludge Processor in Coimbatore, India
Day 5 Friday 30th November 2018 | Startup | Time | W Z Emission |  | CO | NOX (NO+NO2) | O2 | H2S | VOC |  |  | SO2 |  | PM2.5 | NH3 | PAH | Relative Humidity
[5 empty] | mg/m3 | mg/m3 | % | mg/m3 | mg/m3 |  |  | mg/m3 |  | µg/m3 | mg/m3 | mg/m3 | %
| Startup | 9.00AM to 5.00PM | 1st half (8217) |  | BDL(DL:1.0) | 11.3 | 20.1 | BDL(DL:0.1) | BDL(DL:0.5) |  |  | 3.1 |  | 18 | 0.0027 | BDL(DL:0.0001) | 61
Upper limit throughput (1500 l/h)
| Shutdown | 6.00PM | W Z Emission |  | CO | NOX (NO+NO2) | O2 | H2S | VOC |  |  | SO2 |  | PM2.5 | NH3 | PAH | Relative Humidity
[5 empty] | mg/m3 | mg/m3 | % | mg/m3 | mg/m3 |  |  | mg/m3 |  | µg/m3 | mg/m3 | mg/m3 | %
|  |  | 2nd half (8218) |  | 1.145 | 16.9 | 20.4 | BDL(DL:0.1) | BDL(DL:0.5) |  |  | 2.6 |  | 15 | 0.0035 | BDL(DL:0.0001) | 62
|  |  |  | average | 1.145 | 14.1 | 20.25 | BDL(DL:0.1) | BDL(DL:0.5) | #DIV/0! | #DIV/0! | 2.85 | #DIV/0! | 16.5 | 0.0031 | #DIV/0! | 61.5
[5 empty] | Dtection Limits | NOX (NO+NO2) | 0.01 mg/m3
[6 empty] | PM2.5 | 0.05 mg/m3
[6 empty] | NH3 | 0.001 mg/m3

## Stack Emission
Analysis Services for Faecal Sludge Processor in Coimbatore, India
| Sampling |  | TUV SUD Noida
Analysis
|  | Time | Samples (Stack & Work Zone Emission )
Type of Samples : (Continuous ,1 hour average )
| Operating Condition / Sample type |  | Results (mg/Nm3)
Day 1 Monday, 26th November 2018 | Startup | 9.00AM to 5.00PM | Stack Emission |  | CO | NOX(NO+NO2) | O2 | H2S | VOC |  |  | SO2 |  | PM2.5 | NH3 | PAH | Volume of Flow | Moisture | Stack Emission | CO | NOX(NO+NO2) | O2 | H2S | VOC | SO2 | PM2.5 | NH3 |  |  | PAH | Volume of Flow | Moisture
[5 empty] | mg/Nm3 | mg/Nm3 | % | mg/Nm3 | mg/Nm3 |  |  | mg/Nm3 |  | mg/Nm3 | mg/Nm3 | mg/Nm3 | Nm3/hr | % |  | mg/Nm3 | mg/Nm3 | % | mg/Nm3 | mg/Nm3 | mg/Nm3 | mg/Nm3 | mg/Nm3 | mg/Nm3 | mg/Nm3 | mg/Nm3 | Nm3/hr | %
| Upper limit throughput (1500 l/h) |  | 1st half (8131) |  | BDL(DL:1.0) | BDL(DL:1.0) | 20.8 | BDL(DL:0.1) | BDL(DL:0.5) | 10g | 30g | 10.7 |  | BDL(DL:1.0) | BDL(DL:0.1) | BDL(DL:0.0001) | 232 | 0.713 | 2nd half (8213) | BDL(DL:1.0) | BDL(DL:1.0) | 20.7 | BDL(DL:0.1) | BDL(DL:0.5) | 6.4 | BDL(DL:1.0) | BDL(DL:0.1) |  |  | BDL(DL:0.0001) | 232 | 0.716
10g
10g
[10 empty] | 10g | 30g
10g
10g
[10 empty] | 10g | 30g
10g
10g
| Shutdown | 210:00
Number of samples for analysis
|  |  | Stack Emission | [15 empty] | Stack Emission
Day 2 Tuesday, 27th November 2018 | Startup | 9.00AM to 5.00PM | 1st half (8132) |  | BDL(DL:1.0) | BDL(DL:1.0) | 20.8 | BDL(DL:0.1) | BDL(DL:0.5) |  |  | BDL(DL:2.5) |  | BDL(DL:1.0) | BDL(DL:0.1) | BDL(DL:0.0001) | 243 | 0.71 | 2nd half (8214) | BDL(DL:1.0) | BDL(DL:1.0) | 20.7 | BDL(DL:0.1) | BDL(DL:0.5) | 2.6 | BDL(DL:1.0) | BDL(DL:0.1) |  |  | BDL(DL:0.0001) | 243 | 0.712
Lower limit throughput (750 l/h)
| Shutdown | 210:00
Number of samples for analysis
|  |  | Stack Emission | [15 empty] | Stack Emission
Day 3 Wednesday 28th November 2018 | Startup | 9.00AM to 5.00PM | 1st half (8133) |  | BDL(DL:1.0) | BDL(DL:1.0) | 20.8 | BDL(DL:0.1) | BDL(DL:0.5) |  |  | 9.2 |  | BDL(DL:1.0) | BDL(DL:0.1) | BDL(DL:0.0001) | 264 | 0.713 | 2nd half (8215) | BDL(DL:1.0) | BDL(DL:1.0) | 20.6 | BDL(DL:0.1) | BDL(DL:0.5) | 9 | BDL(DL:1.0) | BDL(DL:0.1) |  |  | BDL(DL:0.0001) | 264 | 0.714
Upper limit throughput (1500 l/h)
| Shutdown | 210:00
| Number of samples for analysis | [9 empty] | 3 | [17 empty] | 3
|  |  | Stack Emission | [15 empty] | Stack Emission
Day 4 Thursday 29th November 2018 | Startup | 9.00AM to 5.00PM | 1st half (8134) |  | BDL(DL:1.0) | BDL(DL:1.0) | 20.8 | BDL(DL:0.1) | BDL(DL:0.5) |  |  | 18.9 |  | BDL(DL:1.0) | BDL(DL:0.1) | BDL(DL:0.0001) | 257 | 1.0625 | 2nd half (8216) | BDL(DL:1.0) | BDL(DL:1.0) | 20.7 | BDL(DL:0.1) | BDL(DL:0.5) | 13.1 | BDL(DL:1.0) | BDL(DL:0.1) |  |  | BDL(DL:0.0001) | 257 | 1.0632
Upper limit throughput (1500 l/h)
| Shutdown | 6.00PM
Number of samples for analysis
0
|  |  |  | average | BDL(DL:1.0) | BDL(DL:1.0) | 20.7375 | BDL(DL:0.1) | BDL(DL:0.5) | 7.775 | #DIV/0! | 9.9857 | #DIV/0! | BDL(DL:1.0) | BDL(DL:0.1) | BDL(DL:0.0001) | 249 | 0.80046

## Indoor Air
Analysis Services for Faecal Sludge Processor in Coimbatore, India
| Sampling |  | TUV SUD Noida
Analysis
|  | Time | Samples (Indoor Air Emission )
Type of Samples : Continuous ,1 hour average )
| Operating Condition / Sample type |  | Results ( ppm)
Day 1 Monday, 26th November 2018 | Startup | 9.00AM to 5.00PM | Indoor Air |  | CO | NOX(NO+NO2) | CO2 | H2S | VOC (Benzene) |  |  | SO2 |  | PM2.5 | NH3 | Indoor Air | CO | NOX(NO+NO2) | CO2 | H2S | VOC (Benzene) | SO2 | PM2.5 | NH3
|  |  | Unit |  | ppm | ppm | ppm | ppm | ppm |  |  | ppm |  | µg/m3 | ppm | Unit | ppm | ppm | ppm | ppm | ppm | ppm | µg/m3 | ppm
| Upper limit throughput (1500 l/h) |  | 1st half (10:00 to 11:00 am) |  | 0.36 | 0.075 | 517 | BDL(DL:0.01) | BDL(DL:0.1) | 10g | 30g | 0.033 |  | 46.2 | 0.0107 | 2nd half (1:00 to 2:00 pm) | 0.52 | 0.1 | 442 | BDL(DL:0.01) | BDL(DL:0.1) | 0.033 | 46.7 | 0.0037
10g
10g
[10 empty] | 10g | 30g
10g
10g
[10 empty] | 10g | 30g
10g
10g
| Shutdown | 210:00 | 8121 | [12 empty] | 8122
Day 2 Tuesday, 27th November 2018 | Startup | 9.00AM to 5.00PM | 1st half (10:00 to 11:00 am) |  | 0.65 | 0.11 | 624 | BDL(DL:0.01) | BDL(DL:0.1) |  |  | 0.058 |  | 42.9 | 0.0028 | 2nd half (1:00 to 2:00 pm) | 0.94 | 0.083 | 479 | BDL(DL:0.01) | BDL(DL:0.1) | 0.08 | 38 | 0.0034
Lower limit throughput (750 l/h)
| Shutdown | 210:00 | 8123 | [12 empty] | 8124
Day 3 Wednesday 28th November 2018 | Startup | 9.00AM to 5.00PM | 1st half (10:00 to 11:00 am) |  | 0.17 | BDL(DL:0.01) | 477 | BDL(DL:0.01) | BDL(DL:0.1) |  |  | BDL(DL:0.01) |  | 35.8 | 0.0034 | 2nd half (1:00 to 2:00 pm) | 0.18 | 0.092 | 569 | BDL(DL:0.01) | BDL(DL:0.1) | 0.1 | 37 | 0.0029
Upper limit throughput (1500 l/h)
| Shutdown | 210:00 | 8125 | [12 empty] | 8126
Day 4 Thursday 29th November 2018 | Startup | 9.00AM to 5.00PM | 1st half (10:00 to 11:00 am) |  | 0.42 | 0.12 | 625 | BDL(DL:0.01) | BDL(DL:0.1) |  |  | 0.075 |  | 39.6 | 0.0038 | 2nd half (1:00 to 2:00 pm) | 0.52 | 0.075 | 490 | BDL(DL:0.01) | BDL(DL:0.1) | 0.13 | 45.1 | 0.0025
Upper limit throughput (1500 l/h)
| Shutdown | 6.00PM | 8127 | [12 empty] | 8128
0
Day 5 Friday 30th November 2018 | Startup | 9.00AM to 5.00PM | 1st half (10:00 to 11:00 am) |  | 0.38 | 0.092 | 422 | BDL(DL:0.01) | BDL(DL:10) |  |  | 0.033 |  | 36.6 | 0.0031 | 2nd half (1:00 to 2:00 pm) | 0.35 | 0.05 | 432 | BDL(DL:0.01) | BDL(DL:10) | 0.1 | 38.5 | 0.0035
Upper limit throughput (1500 l/h)
| Shutdown | 6.00PM | 8129 | [12 empty] | 8130
|  |  |  | average | 0.449 | 0.088556 | 507.7 | BDL(DL:0.01) | BDL(DL:0.1) | 0.0886 | 41.06 | 0.071333 | #DIV/0! | 40.64 | 0.00398

## Effluent Water
Analysis Services for Faecal Sludge Processor in Coimbatore, India
| Sampling |  |  | TUV SUD Noida
Analysis
|  |  | Time | Samples (Effluent Water )
Type of Samples : Composite
| Operating Condition / Sample type |  |  | Results ( mg/l) , except Ph
Day 1 Monday, 26th November 2018 | Startup | Sample no. | 9.0AM TO 5.0 PM | INLET WATER |  | Ph | COD | TSS | N | P |  |  | Sample no. | OUTLET WATER |  | Ph | COD | TSS | N | P
| Upper limit throughput (1500 l/h) | 8111 |  | 3.0 Liter |  | 7.04 | 20.1 | 12 | 11.76 | 6.4198 | 10g | 30g | 8112 | 3.0 Liter |  | 7.2 | 10 | 6 | 5.88 | 4.8889
10g
10g
[6 empty] | 7.04 | 20.1 | 12 | 11.76 | 6.4198 | 10g | 30g |  |  |  | 7.2 | 10 | 6 | 5.88 | 4.8889
[6 empty] | 7.04 | 20.1 | 12 | 11.76 | 6.4198 | 10g |  |  |  |  | 7.2 | 10 | 6 | 5.88 | 4.8889
[6 empty] | 7.04 | 20.1 | 12 | 11.76 | 6.4198 | 10g |  |  |  |  | 7.2 | 10 | 6 | 5.88 | 4.8889
[6 empty] | 7.04 | 20.1 | 12 | 11.76 | 6.4198 | 10g | 30g |  |  |  | 7.2 | 10 | 6 | 5.88 | 4.8889
[6 empty] | 7.04 | 20.1 | 12 | 11.76 | 6.4198 | 10g |  |  |  |  | 7.2 | 10 | 6 | 5.88 | 4.8889
[6 empty] | 7.04 | 20.1 | 12 | 11.76 | 6.4198 | 10g |  |  |  |  | 7.2 | 10 | 6 | 5.88 | 4.8889
| Shutdown |  | 210:00
| Number of samples for analysis |  |  | 1 | [9 empty] | 1
Day 2 Tuesday, 27th November 2018 | Startup | 8113 | 9.0 AM TO 5.0 PM | 3.0 Liter |  | 7.2 | 70.28 | 21 | 35.35 | 15.9012 |  |  | 8114 | 3.0 Liter |  | 7.4 | 60.24 | 14 | 5.88 | 7.4568
Lower limit throughput (750 l/h)
| Shutdown |  | 210:00
| Number of samples for analysis |  |  | 1 | [9 empty] | 1
Day 3 Wednesday 28th November 2018 | Startup | 8115 | 9.0 AM TO 5.0 PM | 3.0 Liter |  | 7.16 | 90.4 | 35 | 55.9 | 17.8272 |  |  | 8116 | 3.0 Liter |  | 7.45 | 70.3 | 17 | 25.62 | 15.4074
Upper limit throughput (1500 l/h)
[6 empty] | 7.16 | 90.4 | 35 | 55.9 | 17.8272 | [5 empty] | 7.45 | 70.3 | 17 | 25.62 | 15.4074
[6 empty] | 7.16 | 90.4 | 35 | 55.9 | 17.8272 | [5 empty] | 7.45 | 70.3 | 17 | 25.62 | 15.4074
[6 empty] | 7.16 | 90.4 | 35 | 55.9 | 17.8272 | [5 empty] | 7.45 | 70.3 | 17 | 25.62 | 15.4074
[6 empty] | 7.16 | 90.4 | 35 | 55.9 | 17.8272 | [5 empty] | 7.45 | 70.3 | 17 | 25.62 | 15.4074
[6 empty] | 7.16 | 90.4 | 35 | 55.9 | 17.8272 | [5 empty] | 7.45 | 70.3 | 17 | 25.62 | 15.4074
[6 empty] | 7.16 | 90.4 | 35 | 55.9 | 17.8272 | [5 empty] | 7.45 | 70.3 | 17 | 25.62 | 15.4074
| Shutdown |  | 210:00
| Number of samples for analysis |  |  | 1 | [7 empty] | 3 |  | 1
Day 4 Thursday 29th November 2018 | Startup | 8118 | 9.0 AM TO 5.0 PM | 3.0 Liter |  | 7.2 | 180.72 | 96 | 89.46 | 31.4568 |  |  | 8117 | 3.0 Liter |  | 7.54 | 100.4 | 69 | 32.8 | 27.358
Upper limit throughput (1500 l/h)
| Shutdown |  | 6.00PM
| Number of samples for analysis |  |  | 1 | [9 empty] | 1
0
Day 5 Friday 30th November 2018 | Startup | 8120 | 9.0 AM TO 5.0 PM | 3.0 Liter |  | 7.5 | 130.52 | 69 | 74.8 | 26.8148 |  |  | 8119 | 3.0 Liter |  | 7.23 | 80.32 | 27 | 62.2 | 22.1235
Upper limit throughput (1500 l/h)
| Shutdown |  | 6.00PM | 1 | [9 empty] | 1
Number of samples for analysis
[6 empty] | Ph | COD | TSS | N | P | [5 empty] | Ph | COD | TSS | N | P
[5 empty] | average | 7.22 | 98.404 | 46.6 | 53.454 | 19.684 | #DIV/0! | #DIV/0! |  |  |  | 7.364 | 64.252 | 26.6 | 26.476 | 15.4469
[15 empty] | % Removal |  | 19.6025 | 11.5 | 11.26 | 5.6582
[17 empty] | 69.4229 | 20.3333 | 35.1837 | 15.4323
[17 empty] | 89.6223 | 34.5143 | 55.4417 | 16.9629
[17 empty] | 180.1644 | 95.2812 | 89.0934 | 30.5871
[17 empty] | 129.9046 | 68.6087 | 73.9684 | 25.9898
[15 empty] | average |  | 97.7433 | 46.0475 | 52.9894 | 18.9261

## Ambient Noise (Indoor & Outdoor
Sampling | Loaction | Report No. | Date | Time | Result dB(A)
average
Indoor | Cubical-1 | 8147 | 26.11.2018 | 4:40pm to 10.00 pm | 55.4 | 58.9667
|  | 8148 | 27.11.2018 | 5:00 pm to 04:30 am | 64.8
|  | 8149 | 28.11.2018 | 4:35 pm to 09:36 am | 56.7
Outdoor-1 | Near Fridge | 8135 | 26.11.2018 | 1:54 pm to 2:55 pm | 64.4 | 63.4
|  | 8139 | 27.11.2018 | 3:05 pm to 4:08 pm | 68
|  | 8143 | 28.11.2018 | 1:12 pm to 2:16 pm | 57.8
Outdoor-2 | Near PLC Control Panel | 8136 | 26.11.2018 | 1:54 pm to 2:55 pm | 71.1 | 66
|  | 8140 | 27.11.2018 | 3:12 pm to 4:14 pm | 64.4
|  | 8144 | 28.11.2018 | 1:17 pm to 2:20pm | 62.5
Outdoor-3 | Near Table | 8137 | 26.11.2018 | 1:54 pm to 2:55 pm | 64.9 | 65.7333
|  | 8141 | 27.11.2018 | 3:18 pm to 4:20 pm | 68
|  | 8145 | 28.11.2018 | 1:24 pm to 2:28 pm | 64.3
Outdoor-4 | Near Process Tank | 8138 | 26.11.2018 | 1:54 pm to 2:55 pm | 65.6 | 66.2333
|  | 8142 | 27.11.2018 | 3:01 pm to 4:04 pm | 73.2
|  | 8146 | 28.11.2018 | 1:10 pm to 2:13 pm | 59.9